## Slide 1: RFI Guide Adding ferrite clamps

## Slide 2: Step 1 – Twist cables
before adding the clamps cables need to be twisted the whole way to the inverter, including:
Home runs
Panel wires

## Slide 3: Step 2 – Add ferrite clamps
Create 3 loops with the twisted cables
Add 3x ferrites
1
2
3
To panel
3
1
2

## Slide 4: Step 3 – Home run table
Add ferrites every 1 meter on the home run cable
Inv
Home run cable
1 m’